## Column Presure Check Logbook
Column | S/N | Date | ΔP_SolventA/Water | Notes
Luna A | H16-139176 | 2023-07-15 | 2186 | Retiring Old Column
Luna B | H16-139174 | 2023-07-15 | 2045
Jupiter A | H16-085181 | 2023-07-15 | 1243 | Retiring Old Column
Jupiter B | H16-085182 | 2023-07-15 | 1171
New Jupiter | H19-196072 | 2023-07-15 | 1073 | New Column
New Luna | H19-177486 | 2023-07-15 | 1336 | New Column

## Columns
S/N | Instrument | Colloquial Name | Date of Last Guard Column Filter Replacement | Date of Last Annual Cleaning | Date of Last Pressure Check | ΔP_SolventA (PSI or Mbar, standard flow rate) | Date of First Use | Annual Cleaning Procedures
H19-208218 | Prep | Jupiter A | - | - | No Data | No Data |  | HPLC 4 hr A-B-C Wash, Chino's Method File Location: method/cabalteja/Column Cleaning methods/Column Clean.met Note: Semi-Prep Columns Share one Guard Column due to infrequent use
H19-217662 | Prep | Jupiter B | - | - | No Data | No Data
H16-080521 | Prep | Prep Luna | - | - | No Data | No Data
H16-129091 | Middle Analytical | Luna Semi | - | 2024-03-02 | 2024-03-02 | No Data
578639-3 | Middle Analytical | Old Luna Semi | - | 2024-03-03 | 2024-03-03 | No Data |  | FPLC Column Dependent, Check Manuals
751649-1 | Middle Analytical | Jupiter B Semi | - | 2024-03-01 | 2024-03-01 | 1430
H16-069030 | Middle Analytical | Jupiter A Semi | 2023-05-08 | 2024-03-01 | 2024-03-01 | 1350
H16-085181 | Analyticals | Jupiter A | 2023-05-08 | 2024-03-03 | 2024-03-03 | 1243
H16-085182 | Analyticals | Jupiter B | 2024-03-03 | 2024-03-03 | 2024-03-03 | 1171
H19-196072 | Analyticals | New Jupiter | 2024-03-02 | 2024-03-02 | 2024-03-02 | 1325 | 2023-07-15
H19-177486 | Analyticals | New Luna (Unopened) | - | - | - | - | -
H16-139176 | Analyticals | Luna A | 2024-03-03 | 2024-03-03 | #NAME? | 2186
H16-139174 | Analyticals | Luna B | 2023-04-22 | 2023-07-17 | 2023-07-15 | 2045
10042329 | FPLC | MonoQ | - |  | No Data | No Data
10244497 | FPLC | MonoS1 | - |  | No Data | No Data
10166695 | FPLC | Superdex 75 | - |  | No Data | No Data
10084404 | FPLC | Superdex 200 | - |  | No Data | No Data
10307599 | FPLC | HiLoad Superdex 75 | - |  | No Data | No Data
10129654 | FPLC | MonS2 | - |  | No Data | No Data

## Instruments
Instrument | Date of Last Lamp Change | Cuvette Cleaning | In-Line Filter Replacement | Date of Back Pressure Check | Last Back Pressure | Date of Last Preventative Maintenance Visit | Date of Last Repair | Repair Type | Repair Contact | Repair Contact Company
HPLC | 2022-07-17 | - |  |  |  | 2022-07-17 |  |  |  | Hitachi Nathan Rathmell: 201-978-8510 (text) rathmell.nathan@hitachi-hightech.com
Analytical, Walk On | 2022-07-17 | - |  | 2023-07-15 | 80 | 2022-07-17
Analytical, Middle | 2022-07-17 | - |  |  |  | 2022-07-17
FPLC | 2022-08-17 | - |  |  |  | 2022-08-17 | 2022-08-17 | Broken Monochrometer Motor, Lamp Replaced |  | ATG (https://www.atgservice.com/)
UV | 2022-04-14 | 2021-01-01 | - | - | -
CD | 2021-11-20 | 2022-04-20 | - | - | - |  | 2022-04-15 | Monochrometer screw grinding, grease applied | Jacob

## Pipettes and Balances
S/N | Instrument | Date Calibrated | Date of Last Repair | Repair Type | Repair Contact | Repair Contact Company | Calibration Contact
QC52738 | P2 Pipette | 2020-10-27 |  |  |  |  | Matt Ross
CE62072 | P200 Pipette | 2019-07-01 |  |  |  |  | techhmatt70@gmail.com
CN61017 | P10 Pipette | 2021-01-03
QD51052 | P20 Pipette | 2020-10-27
CL64597 | P1000 Pipette | 2020-10-27
DA50736 | P2 Pipette | 2020-10-27
HH25614 | P200 Pipette | 2020-10-27
CL64596 | P1000 Pipette | 2020-10-27
LK21520 | P10 Pipette | 2020-10-27
QD51591 | P1000 Pipette | ???
JH23041 | P2 Pipette | 2020-10-27
QC52890 | P200 Pipette | 2020-10-27
CD63476 | P20 Pipette | 2020-10-27
CD63475 | P20 Pipette | 2020-10-27
CE62071 | P200 Pipette | 2020-10-27
QD52873 | P10 Pipette | 2020-10-27
SI-144 | Main Balance | 2020-12-01
Blue Balance | Coupling Balance | 2020-12-01
C048611966 | New Balance
S-403 | Large Mass Balance | 2020-12-01